## courbe cal AA
Calibration Report
Lab Name: | Default Laboratory
Instrument: | Thermo Scientific Instrument |  |  |  | Method: | 20201103-metahcol-AA_Aminoacids_QUANT
User: | jeanblan |  |  |  |  | Aminoacids_QUANT
Batch: | 20201103-metahcol-AA |  |  |  | Cali File: | 20201103-metahcol-AA.calx
Calibration Summary
|  |  |  | A0 | A1 | A2 | R^2
|  | Manually | Curve | y-Intercept | Slope |  | R^2
Compound |  | Integrated | Type | Mean RF |  |  | % RSD | Flag | ShadeFailure
Asn |  |  | Q | 0.02574 | 0.004017 | 1.068e-08 | 0.9997 |  | FALSE
Ser |  | M | L | -1.147 | 0.004303 |  | 0.9914 |  | FALSE
Ala |  |  | L | 0.05298 | 0.0008893 |  | 0.9949 |  | FALSE
Gln |  |  | L | 0.00128 | 6.083e-05 |  | 0.9994 |  | FALSE
Gly |  | M | L | 0.1929 | 0.002554 |  | 0.9946 |  | FALSE
Asp |  |  | L | 0.02366 | 0.0009034 |  | 0.9989 |  | FALSE
Thr |  |  | L | 0.04571 | 0.002121 |  | 0.9997 |  | FALSE
Glu |  |  | L | 6.526e-05 | 4.475e-05 |  | 0.9999 |  | FALSE
Pro |  | M | L | 0.08011 | 0.004374 |  | 0.9998 |  | FALSE
His |  |  | L | 0.8569 | 0.02837 |  | 0.9997 |  | FALSE
Lys |  |  | L | 0.06228 | 0.002944 |  | 0.9997 |  | FALSE
Arg |  |  | L | 0.01978 | 0.005103 |  | 0.9999 |  | FALSE
Val |  | M | L | 0.2912 | 0.002214 |  | 0.9997 |  | FALSE
Met |  |  | L | -0.1344 | 0.02212 |  | 0.9996 |  | FALSE
Ile |  |  | L | 0.5406 | 0.03394 |  | 0.9989 |  | FALSE
Tyr |  |  | L | -0.01389 | 0.009947 |  | 0.9999 |  | FALSE
Leu |  |  | L | 0.09861 | 0.005875 |  | 0.9997 |  | FALSE
Phe |  |  | L | 0.09467 | 0.01595 |  | 0.9998 |  | FALSE
Trp |  |  | L | -0.5653 | 0.02058 |  | 0.9995 |  | FALSE
[6 empty] | Average %RSD: | 6.36

## courbe cal MC
Calibration Summary
|  |  | A0 | A1 | A2 | R^2
| Manually | Curve | y-Intercept | Slope |  | R^2
Compound | Integrated | Type | Mean RF |  |  | % RSD | Flag
Lactate |  | L | N/F |  |  | N/F
Pyruvate |  | L | N/F |  |  | N/F
GlcNAc-1P |  | Q | 625800 | 19510 | -3.401 | 0.9939
GalN-1P |  | Q | 418600 | 9888 | -1.354 | 0.9918
Gly3P |  | L | -0.3549 | 0.02132 |  | 0.9964
Rib1P |  | L | -30.19 | 0.4682 |  | 0.9974
Glc1P |  | Q | 130100 | 11300 | -1.415 | 0.9981
Tre6P |  | Q | 93020 | 28670 | -5.163 | 0.9969
Suc |  | L | 0.08982 | 0.000312 |  | 0.9934
Mal |  | L | 0.0978 | 0.0006891 |  | 0.994
CMP |  | L | -1.647 | 0.02858 |  | 0.9984
GlcN-6P | M | L | -3.374 | 0.05063 |  | 0.995
a-KG |  | L | -825800 | 40440 |  | 0.9941
Glc6P |  | L | -0.0213 | 0.0008809 |  | 0.9979
GlcNAc-6P |  | Q | -268000 | 12400 | -1.653 | 0.9985
Fru6P |  | L | -0.1537 | 0.003285 |  | 0.9979
Fum | M | L | 0.005402 | 0.006568 |  | 0.9908
Man6P |  | L | -0.1014 | 0.003573 |  | 0.9986
cAMP |  | Q | -226900 | 23000 | -2.912 | 0.9981
P5P |  | L | -0.8582 | 0.01275 |  | 0.9955
AMP |  | L | -1.734 | 0.01581 |  | 0.989 | R
ADP-Glc |  | L | -282900 | 4205 |  | 0.9985
Oro |  | L | -0.01203 | 0.000693 |  | 0.9992
6-PG |  | L | -0.8525 | 0.02434 |  | 0.9953
P-Ser |  | L | -0.3272 | 0.003099 |  | 0.9965
2_3-PG |  | L | 0.04816 | 0.003865 |  | 0.9952
Shi3P |  | L | -3.462 | 0.05923 |  | 0.9989
CDP |  | L | -1.242 | 0.02046 |  | 0.9891 | R
Cit |  | L | 0.06863 | 0.001137 |  | 0.9956
Cis-Aco |  | L | -58120 | 596.2 |  | 0.9954
IsoCit |  | Q | 0.04459 | 0.0028 | -4.813e-07 | 0.9937
UDP-AcGlcN |  | L | -0.02309 | 0.001918 |  | 0.9981
PEP |  | L | -7.952 | 0.06481 |  | 0.9997
UMP |  | L | 0.003937 | 0.001059 |  | 0.9926
UDP-Glc |  | L | -0.07591 | 0.0007049 |  | 0.9987
ADP | M | L | -0.01756 | 0.003392 |  | 0.9965
FruBP |  | L | -0.01285 | 0.0002827 |  | 0.9971
CTP |  | L | -0.0795 | 0.001999 |  | 0.9973
GDP-Man |  | L | 193400 | 5191 |  | 0.9943 | AR
GMP |  | L | -21.67 | 0.2432 |  | 0.9957 | R
PRPP |  | L | -0.9817 | 0.01437 |  | 0.9922
ATP |  | L | -0.05554 | 0.0005627 |  | 0.9968
UDP |  | L | -0.05047 | 0.007311 |  | 0.998
cGMP |  | Q | -318100 | 14110 | -1.745 | 0.999
UTP |  | L | -0.05144 | 0.001338 |  | 0.997
GDP |  | L | -1.542 | 0.04347 |  | 0.994
[5 empty] | Average %RSD: | 23.82

## Sheet3
Calibration Report
Lab Name: | Default Laboratory
Instrument: | Thermo Scientific Instrument |  |  | Method: | 20201103-metahcol-AA_Aminoacids_QUANT
User: | jeanblan |  |  |  | Aminoacids_QUANT
Batch: | 20201103-metahcol-AA |  |  | Cali File: | 20201103-metahcol-AA.calx
Vial Pos | Sample ID | File Name | Level | Sample Name | File Date | Comment
B:A8 | 1 | S1 | cal1 |  | 2020-10-27 13:21
B:A7 | 1 | S2 | cal2 |  | 2020-10-27 12:51
B:A6 | 1 | S3 | cal3 |  | 2020-10-27 12:20
B:A5 | 1 | S4 | cal4 |  | 2020-10-27 11:49
B:A4 | 1 | S5 | cal5 |  | 2020-10-27 11:18
B:A3 | 1 | S6 | cal6 |  | 2020-10-27 10:47
B:A2 | 1 | S7 | cal7 |  | 2020-10-27 10:17